## Slide 1: First report of the 24-month data from the SUCCESS PTA study: Sirolimus DEB in real-world peripheral artery disease patients
Michael Lichtenberg, MD Klinikum Hochsauerland, Arnsberg, Germany

## Slide 2
Disclosure
Speaker name: Michael Lichtenberg, MD
I have the following potential conflicts of interest to report:
  Receipt of grants/research support
  Receipt of honoraria and travel support
  Participation in a company-sponsored speaker bureau
  Employment in industry
  Shareholder in a healthcare company
  Owner of a healthcare company
I do not have any potential conflict of interest

## Slide 3: SELUTION SLR™ Drug-Eluting Balloon (DEB) Technology
Cordis 2023 Data on file.
SELUTION SLRTM PTA DEB is approved in the United States for Investigational Use Only. Not available for Commercial Sale in the US.
2 key features define the
unique performance of SELUTION SLR™ DEB
MicroReservoirs
4 µm spheres of sirolimus mixed with biodegradable polymer
Controlled release of sirolimus
Proprietary Phospholipid Blend Coating
Phospholipid blend containing and protecting MicroReservoirs at 1 μg/mm2 sirolimus dose
Enhances drug transfer efficiency

## Slide 4
SELUTION SLR™ deb in PAD – Clinical Program Overview
Extensive clinical program consisting of 10 Studies and more than 1,900 patients
PRESTIGE
T. Tang, - VIVA 2022
SELUTION SFA IT
M.Franzese - J Endovasc Ther. 2023
A.Cioppa – LINC 2024
SELUTION SFA Japan
O. Iida - JET 2025
O.Iida - JACC CI 2024
LIMUS FLOW
C.Rammos – LINC 2024
SELUTION FIM
T.Zeller - J Endovasc Ther. 2020
N=50, s-center
Fem-pop, RC 2-3
6.3 cm lesion length
N=134, m-center
Fem-pop,
RC 2-3-4
12.7 cm lesion length
N=80, s-center
Fem-pop,
RC 2-3-4
17.1 cm lesion length
N=70, s-center RCT SELUTION vs. IN.PACT
Fem-pop,
RC 2-3-4
N=25, s-center
BTK CLTI,
TASC II C-D
18 cm lesion length
6 Mo LLL = 0.19 mm
24Mo PP = 81.7%
24 Mo TLR = 12.5%
SELUTION leads to decreased inflammation and better EF function restoration vs. IN.PACT
36 Mo PP = 81.5%
36 Mo TLR free = 93.8%
36 Mo PP = 74.7%
36 Mo TLR free = 85.3%
24Mo TLR Free = 87.0%
24Mo AFS = 75.0%
Wound Healing = 94.4%
24 Mo
36 Mo
12 Mo
24 Mo
36 Mo
SELUTION4BTK
PIs E Armstrong, M Brodmann
SELUTION4SFA
PIs S J Mathews, T Zeller
SUCCESS
M.Lichtenberg - CX 2025
PRISTINE
T. Tang - Cardiov. Interv. Radiol. 2024
N=75, s-center
M-level CLTI,
TASC II C-D
22 cm lesion length
12Mo TLR Free = 74.3%
12Mo AFS = 72.6%
Wound Healing = 79.2%
N=723, m-center
SFA, BTK, BTA
Real World
12 Mo FF TLR = 91.1%
For CLTI = 90.3%
For Claudicants = 91.3%
RCT, IDE
N=300, m-center
Fem-Pop
Enrollment
Completed
RCT, IDE
N=376, m-center
BTK
12 Mo
PRELUDE
T. Chong – LINC 2026
N=158, s-center
M-level CLTI,
TASC II C-D
17.6 cm lesion length
12Mo FF TLR = 76.1%
12 Mo AFS = 76.0%
12 Mo
24 Mo
Enrolling
2 Proof-of-Concept
2 Complex SFA
3 Complex CLTI
SFA/BTK
Real World
2 IDE RCTs (SFA and BTK)
1st Time
Data Release

## Slide 5
SUCCESS PTA STUDy 27 Sites in 8 Countries
Germany
• Klinikum Hochsauerland (Lichtenberg) • Universitätsklinikum Essen (Rammos)
• Universitätsklinikum Tübingen (Schmehl) • Universitätsklinikum Würzburg (Kickuth) • Krankenhaus Buchholz (Hertting) • GRN Klinik Weinheim (Korosoglou) • SRH Klinikum Karlsbad (Oberacker) • Medizinisches Versorgungszentrum GmbH (Schofer) • LMU Klinikum Großhadern München (Konstantinou) • DIAKO Krankenhaus (Müller-Hülsbeck) • University Heart Center Freiburg (Zeller) • Universitätsklinikum Heidelberg (Böckler)
Netherlands
• ETZ Tilburg (Lohle)
Switzerland
• Kantonsspital Aarau (Gissler) • Luzerner Kantonsspital (Rastan)
• HUG Geneva (Glauser)
Greece
• Attikon University Hospital (Brountzos) • General University Hospital of Patras (Katsanos) • Athens Medical Center (Bisdas)
Slovakia
• Trnava University Hospital (Lebdušková)
Argentina
• Hospital Italiano de La Plata (Pascua)
Singapore
• National University Hospital Singapore (Dharmaraj)
United Kingdom
• Guy’s and St Thomas’ Hospital (Patel) • The Royal Hospital (Jaffer)
• Frimley Park Hospital (Taylor) • East Surrey Hospital (Heiss) •University Hospital Leicester (Kandiyil)

## Slide 6: SUCCESS PTA STUDY Patient Flow Chart
Enrolled Patients
N=723
3 patients withdrew consent and did not approve to keep previously collected study data
Patients enrolled between:
Feb 2021 and Oct 2023
Procedure
SELUTION SLRTM DEB
N=720
12-month FU
Completed* N=654 (90.8%)
Completed° (inside the window) N=559 (77.6%)
25 Deaths
39 Withdrawal†
10 Lost to Follow-Up
16 Follow-up Visits Missed
*Patients who completed the 12-month FU visit at anytime or deaths up to 395 days
°Patients who completed the FU visit inside the window (365 ± 30 days) or deaths up to 395 days
24-month FU
Completed* N=585 (81.3%)
Completed° (inside the window) N=564 (78.3%)
25 Deaths‡
5 Withdrawal
17 Lost to Follow-Up
14 Follow Up Visits Missed
* Patients who completed the 24 FU visit at anytime or deaths up to 790 days
° Patients who completed the FU visit inside the window (730 ± 60 days) or deaths up to 790 days
†After 1 year analysis, two withdrawals were later confirmed as deaths
‡Two patients died after completing the 2 year follow up within the window

## Slide 7: SUCCESS PTA STUDY Study Overview
Follow-up:
Clinical Follow-up: 6 months, 1 year
Telephone Follow-up: 2, 3, 4, 5 years
PI: Michael Lichtenberg, Arnsberg, Germany
Secondary Endpoints:
Device success & Procedure success
Major Adverse Limb Events (MALE) composite endpoint
Death
TLR & TVR - including time to first CD-TLR
Target limb revascularization, thrombosis at the target site and amputation
Change in Rutherford score, ABI from baseline and EQ5D
Objectives & Design
Global post-market surveillance study of the SELUTION SLR™ DEB (SFA, BTK, Foot)
Collect real world safety and efficacy data on the use of the SELUTION SLR™ DEB
723 patients in 27 sites around Europe, Asia and South America
Primary Endpoint: Clinically Driven Target Lesion Revascularization (CD-TLR) at 12M

## Slide 8: SUCCESS PTA STUDY Baseline Patient Characteristics
 | Full Cohort N = 720 | Claudicants N = 534 | CLTI N = 186
Age (years) | 70.7 ± 9.9 | 70.0 ± 9.6 | 72.8 ± 10.3
Male, % | 65.0% | 63.9% | 68.3%
Diabetes Mellitus, % | 37.9% | 33.0% | 52.2%
Insulin Dependent | 13.6% | 9.4% | 25.8%
Previous Intervention*, % (<1 Year) at lesion | 16.6% | 14.8% | 21.5%
Hypertension, % | 85.3% | 84.5% | 87.6%
Hyperlipidemia, % | 76.8% | 77.0% | 76.3%
Cerebral Stroke/TIA, % | 7.1% | 5.6% | 11.3%
Myocardial Infarction, % | 14.9% | 15.0% | 14.5%
Renal Failure/Impairment, % | 16.8% | 12.7% | 28.5%
Current Smoker**, % | 30.3% | 31.8% | 26.3%
Rutherford Class, % |  |  | 
1 | 3.2% | 4.3% | 0%
2 | 21.4% | 28.8% | 0%
3 | 49.4% | 66.7% | 0%
4 | 8% | 0% | 31.2%
5 | 16.5% | 0% | 64%
6 | 1.2% | 0% | 4.8%
Denominators: *718 full cohort; 532 claudicants; **715 full cohort; 529 claudicants
M. Lichtenberg, “First report of the 12-month data from the SUCCESS PTA study: Sirolimus DEB in real-world patients with peripheral arterial disease”, Oral Presentation at Charing Cross Conference 2025

## Slide 9: SUCCESS PTA STUDY Baseline Lesion Characteristics
 | Full Cohort (n=822 lesions) | Claudicants (n=604 lesions) | CLTI (n=218 lesions)
RVD (mm) | 5.2 ± 1.5 | 5.5 ± 0.9 | 4.8 ± 2.5
Lesion Length (mm) | 128.4 ± 101.8 | 128.4 ± 102.6 | 128.2 ± 99.6
De novo Lesion, % | 75.1% | 75.2% | 74.8%
Diameter Stenosis (%) | 91.6 ± 11.2 | 91.3 ± 11.6 | 92.5 ± 10.3
Lesion Location*, % |  |  | 
Above the Knee | 81.0% (666) | 85.9% (519) | 67.4% (147)
SFA Proximal | 255 / 666 |  | 
SFA Mid | 334 / 666 |  | 
SFA Distal | 346 / 666 |  | 
POP 1 | 202 / 666 |  | 
POP 2 | 145 / 666 |  | 
Other º | 19 / 666 |  | 
Below the Knee** | 19.0% (156) | 14.1% (85) | 32.6% (71)
POP 3 | 66 / 156 |  | 
Anterior Tibial Artery | 37 / 156 |  | 
Posterior Tibial Artery | 15 / 156 |  | 
TP Trunk | 15 / 156 |  | 
Peroneal Artery | 8 / 156 |  | 
Other º | 12 / 156 |  | 
Total Occlusion, % | 42.1% | 41.7% | 43.1%
MLD (mm) | 1.0 ± 2.1 | 0.9 ± 1.5 | 1.1 ± 3.3
Calcification Grade 3, % | 20.1% | 19.9% | 20.6%
Calcification Grade 4, % | 16.3% | 15.6% | 18.3%
*Above the Knee (ATK): lesions proximal to POP3; Below the Knee (BTK): encompassing lesions distal to POP2. One lesion can cross multiple segments; For ATK: Profunda, iliac, bypass; For BTK: bypass, dorsalis, plantar
**BTK lesions either isolated or combined with inflow (ATK) lesions
M. Lichtenberg, “First report of the 12-month data from the SUCCESS PTA study: Sirolimus DEB in real-world patients with peripheral arterial disease”, Oral Presentation at Charing Cross Conference 2025

## Slide 10
SUCCESS PTA STUDY Procedural Characteristics
 | Full Cohort (N = 822 lesions) | Claudicants (N = 604 lesions) | CLTI (N = 218 lesions)
Lesion Preparation | 98.8% (809/819) | 98.5% (593/602) | 99.5% (216/217)
Device Type for Lesion Preparation |  |  | 
POBA | 84.1% (677/805) | 84.9% (502/591) | 81.8% (175/214)
Atherectomy** | 22.2% (179/805) | 22.0% (130/591) | 22.9% (49/214)
Thrombectomy | 3.3% (27/805) | 2.9% (17/591) | 4.7% (10/214)
Scoring Balloon | 4.1% (33/805) | 3.2% (19/591) | 6.5% (14/214)
IVL | 3.8% (31/805) | 3.7% (22/591) | 4.2% (9/214)
Cutting Balloon | 1.7% (15/805) | 1.9% (11/591) | 1.9% (4/214)
Provisional Stenting | 32.0% (263/822) | 33.8% (204/604) | 27.1% (59/218)
Residual Stenosis > 30% | 50.9% (134/263) | 52% (106/204) | 45.8% (27/59)
Flow Limiting Dissection | 48.3% (127/263) | 50% (102/204) | 52.5% (31/59)
Other† | 6.5% (17/263) | 4.9% (10/204) | 11.9% (7/59)
Final Residual Stenosis (%) | 10.0 [0.0-20.0] (821) | 10.0 [0.0-20.0] (603) | 10.0 [0.0-15.0]
Device Success | 99.0% (1296/1309‡) | 99.2% (940/948‡) | 98.6% (356/361‡)
Procedure Success | 97.9% (705/720) | 98.3% (525/534) | 96.8% (180/186)
* Data are presented as percentages % (n/N) or median [IQR]. Values represent total n unless otherwise specified
**Type of atherectomy included 140 rotational, 20 directional, 7 orbital, and 12 were not reported
†Other reasons included calcification (2), recoil (11) and thrombus (4)
‡Total number of devices
Device Success: Successful delivery, balloon inflation, deflation and retrieval of the intact study device without burst below rated burst pressure.
Procedure Success: Device success and residual stenosis ≤ 50% at the end of the procedure.
M. Lichtenberg, “First report of the 12-month data from the SUCCESS PTA study: Sirolimus DEB in real-world patients with peripheral arterial disease”, Oral Presentation at Charing Cross Conference 2025

## Slide 11
12 Months
91.4%
0%
10%
20%
30%
40%
50%
60%
70%
80%
90%
100%
0
365
Days after Procedure
Freedom from CD-TLR (%)
720
592
412
321
Overall
0
365
730
790
End of follow up window (24+2M)
85.9%
24 Months
86.1%
SUCCESS PTA STUDY 24 Month Freedom From CD-TLR - KM Curves
730
790

## Slide 12
0%
10%
20%
30%
40%
50%
60%
70%
80%
90%
100%
0
365
790
Days after Procedure
Freedom from CD-TLR (%)
Treatment Group
Claudicants
CLTI
534
456
334
258
186
136
78
63
CLTI
Claudicants
0
365
730
790
12 Months
91.5%
91.3%
24 Months
87.0%
83.0%
End of follow up window (24+2M)
86.7%
83.0%
730
SUCCESS PTA STUDY 24 Month Freedom From CD-TLR – Claudicants vs. CLTI
2-Year
Log-rank p = 0.264
1-Year
Log-rank p = 0.927

## Slide 13: SUCCESS PTA STUDY 24 Month Clinical Outcomes
*Major cardiac event: MI, stroke, cardiovascular death
**MALE: Severe limb ischemia leading to an intervention to target limb or major vascular amputation
Proportions are defined by the number of eligible patients who completed follow up OR experienced the type of event of interest prior to follow up
Clinical Outcomes up to 730 days | Full Cohort (n=720) | Claudicants (n=534) | CLTI (n=186)
Death, % (n) | 7.8% (49/628) | 3.8% (18/478) | 20.7% (31/150)
Major Cardiac Event*, % (n) | 8.2% (50/612) | 6.1% (29/473) | 15.1% (21/139)
CD-TLR, % (n) | 15.3% (90/588) | 14.0% (65/464) | 20.2% (25/124)
Thrombosis, % (n) | 1.2% (7/582) | 0.9% (4/462) | 2.5% (3/120)
Target limb amputation, % (n) | 2.6% (15/588) | 0.2% (1/461) | 11.0% (14/127)
Major target limb amp | 1.5% (9/586) | 0.2% (1/461) | 6.4% (8/125)
Minor target limb amp | 1.0% (6/583) | 0.0% (0/461) | 4.9% (6/122)
MALE**, % (n) | 20.4% (122/597) | 17.6% (82/465) | 30.3% (40/132)
Durable Clinical Outcomes Maintained at 730 Days

## Slide 14
Chart: 
| Mobility | Self-Care | Usual Activities | Pain/Disconfort | Anxiety/Depression
No Problem | 0.144 | 0.504 | 0.466 | 0 | 0.856 | 0.846 | 0.801 | 0 | 0.514 | 0.64 | 0.577 | 0 | 0.196 | 0.46 | 0.439 | 0 | 0.721 | 0.757 | 0.728
Slight Problems | 0.209 | 0.208 | 0.236 | 0 | 0.125 | 0.075 | 0.094 | 0 | 0.259 | 0.184 | 0.216 | 0 | 0.298 | 0.272 | 0.261 | 0 | 0.196 | 0.132 | 0.148
Moderate Problems | 0.356 | 0.168 | 0.151 | 0 | 0.043 | 0.051 | 0.065 | 0 | 0.17 | 0.117 | 0.107 | 0 | 0.317 | 0.171 | 0.209 | 0 | 0.091 | 0.079 | 0.084
Severe Problems | 0.328 | 0.101 | 0.126 | 0 | 0.018 | 0.024 | 0.031 | 0 | 0.085 | 0.038 | 0.065 | 0 | 0.222 | 0.087 | 0.079 | 0 | 0.028 | 0.026 | 0.034
Extreme Problems | 0.008 | 0.02 | 0.021 | 0 | 0.004 | 0.004 | 0.01 | 0 | 0.018 | 0.022 | 0.034 | 0 | 0.016 | 0.01 | 0.013 | 0 | 0.008 | 0.006 | 0.006
Mobility
(n=522)
Self-Care
(n=522)
Pain/Discomfort
(n=522)
Usual Activities
(n=522)
Anxiety/Depression
(n=522)
Baseline
12 Months
24 Months
Baseline
12 Months
24 Months
Baseline
12 Months
24 Months
Baseline
12 Months
24 Months
Baseline
12 Months
24 Months
SUCCESS PTA STUDY EQ5D at 24 Month Follow Up (paired analysis°)
° Based on patients who had baseline and 12-month FU available (FU performed inside the window)
 | Baseline N = 521 | 12-month N = 521 | 24-month N = 521 | Baseline-24M P-value (% change)
EQ-VAS Score | 63.7 ± 18.0 | 70.9 ± 19.2 | 68.0 ± 20.9 | <0.0001*
No Problem
Slight Problems
Moderate Problems
Severe Problems
Extreme Problems
*Indicates the use of the Wilcoxon Signed-Rank test, otherwise a paired t-test to compare within-group differences​

## Slide 15: PRELUDE Study Data in Context: How Does SUCCESS Compare to Other SELUTION Studies
 | SUCCESS PTA Study (n=720) |  | SELUTION SFA Japan1 (n=134) |  |  | PRELUDE2 (n=158)
Study Type | Real-World Registry-Complex Lesions |  | Single Arm Study-SFA + POP Only |  |  | Single Arm Study-High-Risk, Complex Lesions
Age (Years) | 70.7 ± 9.9 |  | 73.8 ± 6.9​ |  |  | 68.5 ± 9.8
Diabetes mellitus, % | 37.9% |  | 60.3% |  |  | 88%
CLTI | 25.8% |  | 2.2% |  |  | 94.1%
BTK, % | 19% |  | 0% |  |  | 63%
PACSS grade 3 and 4, % | 36.3% |  | 26.9% |  |  | 83.9%
Lesion Length (mm) | 128.4 ± 101.8 |  | 127.41 ± 59.73 ​ |  |  | 176.0 ± 138.0
CTOs, % | 42.1% |  | 17.2% (23)​ |  |  | -
RVD (mm) | 5.2 ± 1.5 |  | 4.95 ± 0.93​ |  |  | -
Outcomes (Month) | 12 Mo | 24 Mo | 12 Mo | 24 Mo | 36 Mo | 12 Mo
Primary patency, % | - | - | 87.9% | 83.2% | 81.5%​ | -
FF CD-TLR, % | 91.4% | 86.1% | 97.0% | 95.4% | 93.8%​ | 76.1%
Target Limb Amp, %` | 2.1% | 2.6% | 0% | 0% | 0% | -
FF Target Limb Amp, % | - | - | - | - | - | 91.4%
Soga Y, Iida O, et al. J Endovasc Ther. 2020;27:946-955.
T. Chong, “PRELUDE: 12-month results from Post-procedural Retrospective Evaluation of revascularization outcomes with SELUTION SLR™ sirolimus-coated balloon in patients with peripheral arterial disease”– oral presentation, LINC 2026

## Slide 16: SUCCESS PTA STUDY Data in Context – How Does SUCCESS Compare to PTX Registries?
 | SUCCESS PTA Registry (n=720) | IN.PACT Global Registry1 (n=1406) | Ranger Registry2 (n=172) | BIOLUX P-III Registry3 (n=700) | ILLUMENATE Global Registry4 (n=317)
RCC 4, % | 8% | 9% | 8% | 11% | 6.2%
RCC 5, % | 16% | 3% | 5% | 21% | 2.4%
RCC 6, % | 1% | 0% | 1% | 6% | 0%
Diabetic, % | 38% | 40% | 35% | 47% | 33.7%
Lesion Length (mm) | 128.4 ± 101.8​​ | 120.9 ± 95.4 ​ | 129 (5-400) | 84.7±73.3 | 75.0 ± 52.7
Severe Calcification, % | 16.3% | 10.2% | 3% | 11.9% | 40.8%
CTO, % | 42.1% | 35.5% | - | 23.8% | 31.3%
BTK involvement, % | 19% | 0% | 0% | 12% | 0%
Provisional Stenting,% | 32% | 21% | 22% | 17% | 17.3%
12 Mo FF CD-TLR, % | 91.4% | 92.8% | 89% | 92.5% | 94.8%
24 Mo FF CD-TLR, % | 86.1% | 83.5% | - | 88.1% | 85.3%
Zeller, et al. Circ Cardiovasc Interv. 2019
Lichtenberg, et al. Journal of Cardio Surg 2018
Tepe, et al. Journ Endovasc Therapy 2020
Schroe, H. Et al. Catheter Cardiovasc Interv 2018

## Slide 17: SUCCESS PTA STUDY Conclusions
The SUCCESS PTA is a multi-center, real-world registry with more than 700 patients with claudication and CLTI treated with SELUTION Sustained Limus Release™ Drug-Eluting Balloon (DEB).
In a complex PAD patient cohort, this study of a Sirolimus DEB demonstrated excellent clinical outcomes with no safety concerns.
Positive 24 months outcomes with clinical improvement associated with 86.1% freedom from CD-TLR overall and 83.0% for the CLTI subgroup.
The 24-month results demonstrate consistency and durability of positive results across SELUTION SLR™ DEB trials.

## Slide 18: Thank you for your attention