## Slide 1: First report of the 12-month data from the SUCCESS PTA study: Sirolimus DCB in real-world patients with peripheral arterial disease
Michael Lichtenberg
Vascular Centre Clinic Arnsberg

## Slide 2
Disclosure
Speaker name: Michael Lichtenberg
I have the following potential conflicts of interest to report:
  Receipt of grants/research support
  Receipt of honoraria and travel support
  Participation in a company-sponsored speaker bureau
  Employment in industry
  Shareholder in a healthcare company
  Owner of a healthcare company
I do not have any potential conflict of interest

## Slide 3
SELUTION SLR™ Drug Eluting Balloon Technology
1 Cordis Data on file
MicroReservoirs
  4 µm spheres of Sirolimus mixed with biodegradable polymer1
  Sustained Drug Release
CELL ADHERENT TECHNOLOGY (CAT)TM
  Phospholipid blend containing and protecting MicroReservoirs at 1 μg/mm² Sirolimus dose1
  Enhanced Drug Transfer Efficiency
2 key features define the
unique performance of SELUTION SLR™ DEB

## Slide 4
SELUTION SLR™ deb in PAD – Clinical Program Overview
Extensive clinical program consisting of 9 Studies and more than 1,800 patients
2 Proof-of-Concept
2 Complex CLTI
2 Complex SFA
SFA/BTK
Real World
2 IDE RCTs
(SFA and BTK)
First time
data release
12 Mo

## Slide 5
Follow-up:
Clinical Follow-up: 6 months, 1 year
Telephone Follow-up: 2, 3, 4, 5 years
PI: Michael Lichtenberg, Arnsberg, Germany
Secondary Endpoints:
Device success & Procedure success
Major Adverse Limb Events (MALE) composite endpoint
Death
TLR & TVR - including time to first CD-TLR
Target limb revascularization, thrombosis at the target site and amputation
Change in Rutherford score, ABI from baseline and EQ5D
SUCCESS PTA STUDY Study Overview
Objectives & Design
Global post-market surveillance study of the SELUTION SLR DEB (SFA, BTK, Foot)
Collect real world safety and efficacy data on the use of the SELUTION SLR DEB
723 patients in 27 sites around Europe, Asia and South America
Primary Endpoint: Clinically Driven Target Lesion Revascularization (CD-TLR) at 12M

## Slide 6
SUCCESS PTA STUDy 27 sites in 8 countries
Germany
• Klinikum Hochsauerland (Lichtenberg) • Universitätsklinikum Essen (Rammos)
• Universitätsklinikum Tübingen (Schmehl) • Universitätsklinikum Würzburg (Kickuth) • Krankenhaus Buchholz (Hertting) • GRN Klinik Weinheim (Korosoglou) • SRH Klinikum Karlsbad (Oberacker) • Medizinisches Versorgungszentrum GmbH (Schofer) • LMU Klinikum Großhadern München (Konstantinou) • DIAKO Krankenhaus (Müller-Hülsbeck) • University Heart Center Freiburg (Zeller) • Universitätsklinikum Heidelberg (Böckler)
Netherlands
• ETZ Tilburg (Lohle)
Switzerland
• Kantonsspital Aarau (Gissler) • Luzerner Kantonsspital (Rastan)
• HUG Geneva (Glauser)
Greece
• Attikon University Hospital (Brountzos) • General University Hospital of Patras (Katsanos) • Athens Medical Center (Bisdas)
Slovakia
• Trnava University Hospital (Lebdušková)
Argentina
• Hospital Italiano de La Plata (Pascua)
Singapore
• National University Hospital Singapore (Dharmaraj)
United Kingdom
• Guy’s and St Thomas’ Hospital (Patel) • The Royal Hospital (Jaffer)
• Frimley Park Hospital (Taylor) • East Surrey Hospital (Heiss) •University Hospital Leicester (Kandiyil)

## Slide 7: SUCCESS PTA STUDY Patient flow chart
Enrolled Patients
N=723
3 patients withdrew consent and did not approve to keep previously collected study data
Patients enrolled between:
Feb 2021 and Oct 2023
Procedure
SELUTION SLRTM DEB
N=720
12-month FU
Completed* N=653 (90.7%)
Completed° (inside the window) N=558 (77.5%)
24 Deaths
41 Withdrawal
10 Lost to follow-up
16 Follow-up Visits Missed
* Patients who completed the 12-month FU visit at anytime or deaths
° Patients who completed the FU visit inside the window (365 ± 30 days)
Notes: 1Y FU total: N=629 (87.4%)
1Y inside the window: N=534 (74.2%)

## Slide 8
SUCCESS PTA STUDY Baseline patient characteristics
 | Full Cohort (N = 720 patients) | Claudicants (N = 534 patients) | CLTI (N = 186 patients)
Age (years) | 70.7 ± 9.9 | 70.0 ± 9.6 | 72.8 ± 10.3
Male | 65.0% | 63.9% | 68.3%
Diabetes Mellitus | 37.9% | 33.0% | 52.2%
Insulin Dependent | 13.6% | 9.4% | 25.8%
Previous Interventiona (<1 Year) at lesion | 16.6% | 14.8% | 21.5%
Hypertension | 85.3% | 84.5% | 87.6%
Hyperlipidemia | 76.8% | 77.0% | 76.3%
Cerebral stroke/TIA | 7.1% | 5.6% | 11.3%
Myocardial Infarction | 14.9% | 15.0% | 14.5%
Renal Failure/Impairment | 16.8% | 12.7% | 28.5%
Current smokerb | 30.3% | 31.8% | 26.3%
Rutherford Class 1 | 3.2% | 4.3% | 0%
Rutherford Class 2 | 21.4% | 28.8% | 0%
Rutherford Class 3 | 49.4% | 66.7% | 0%
Rutherford Class 4 | 8% | 0% | 31.2%
Rutherford Class 5 | 16.5% | 0% | 64%
Rutherford Class 6 | 1.2% | 0% | 4.8%
Denominator
a718 full cohort; 532 claudicants
b715 full cohort; 529 claudicants

## Slide 9
SUCCESS PTA STUDY Baseline patient characteristics
 | Full Cohort (N = 720 patients) | Claudicants (N = 534 patients) | CLTI (N = 186 patients)
Age (years) | 70.7 ± 9.9 | 70.0 ± 9.6 | 72.8 ± 10.3
Male | 65.0% | 63.9% | 68.3%
Diabetes Mellitus | 37.9% | 33.0% | 52.2%
Insulin Dependent | 13.6% | 9.4% | 25.8%
Previous Interventiona (<1 Year) at lesion | 16.6% | 14.8% | 21.5%
Hypertension | 85.3% | 84.5% | 87.6%
Hyperlipidemia | 76.8% | 77.0% | 76.3%
Cerebral stroke/TIA | 7.1% | 5.6% | 11.3%
Myocardial Infarction | 14.9% | 15.0% | 14.5%
Renal Failure/Impairment | 16.8% | 12.7% | 28.5%
Current smokerb | 30.3% | 31.8% | 26.3%
Denominator
a718 full cohort; 532 claudicants
b715 full cohort; 529 claudicants
Chart: 
| RCC 1 | RCC 2 | RCC 3 | RCC 4 | RCC 5 | RCC 6
Series 1 | 0.032 | 0.214 | 0.494 | 0.08 | 0.165 | 0.012
Rutherford
classification
26% CLTI

## Slide 10
SUCCESS PTA STUDY Baseline lesion characteristics
 | Full Cohort 821 lesions | ATK * 756 lesions (92%) | BTK * 65 lesions (8%)
RVD (mm) | 5.2 ± 1.5 | 5.3 ± 0.9 | 3.1 ± 0.9
Lesion Length (mm) | 128.4 ± 101.8 | 130.5 ± 103.3 | 104.1 ± 77.7
De novo Lesion | 75.0% | 74.7% | 78.5%
Diameter stenosis (%) | 91.6 ± 11.2 | 91.6 ± 11.0 | 91.3 ± 14.2
Total occlusion | 42.1% | 41.9% | 44.6%
MLD (mm) | 1.0 ± 2.1 | 1.0 ± 1.9 | 0.4 ± 0.6
Calcification Grade 3a | 20.0% | 20.3% | 16.9%
Calcification Grade 4a | 16.3% | 16.8% | 10.8%
Provisional stenting | 32.0% (263) | 33.9% (256) | 10.8% (7)
Residual Stenosis > 30% | 47.5% (125/263) | 47.6% (122/256) | 42.8% (3/7)
Flow limiting dissection | 45.6% (120/263) | 45.7% (117/256) | 42.8% (3/7)
Other | 11.4% (30/263) | 11.3% (29/256) | 14.4% (1/7)
Final residual stenosis (%) | 10.0 ± 10.4 | 10.1 ± 9.9 | 9.6 ± 14.6
BTK Segment Location ** | 
POP 3 | 11 / 65
Anterior Tibial Artery | 26 / 65
Posterior Tibial Artery | 15 / 65
Peroneal Artery | 12 / 65
TP Trunk | 7 / 65
* Target lesion location defined as ATK (above P3) and BTK (below P2)
** One lesion can cross multiple segments
Denominator
a820 full cohort; 755 ATK

## Slide 11
SUCCESS PTA STUDY Procedural characteristics
 | Full Cohort (N = 720 patients) | ATK (N = 668 patients) | BTK (N = 52 patients)
Lesion preparation | 98.8% (803/813**) | 98.7% (745/755**) | 100% (58/58**)
Device type for lesion preparation |  |  | 
POBA | 71.6% (791/1104*) | 70.8% (728/1028*) | 82.9% (63/76*)
Atherectomy/Thrombectomy | 19% (210/1104*) | 19.8% (204/1028) | 7.9% (6/76*)
Scoring Balloon | 3.0% (33/1104*) | 2.8% (29/1028*) | 5.3% (4/76*)
Cutting Balloon | 1.5% (17/1104*) | 1.7% (17/1028*) | 0.0% (0/76*)
IVL | 2.3% (25/1104*) | 2.1% (22/1028*) | 3.9% (3/76*)
Device Success | 99.0% (1294/1307*) | 99.0% (1214/1226*) | 98.8% (80/81*)
Procedure Success | 97.9% (705/720) | 97.9% (654/668) | 98.1% (51/52)
Device Success: Successful delivery, balloon inflation, deflation and retrieval of the intact study device without burst below rated burst pressure.
Procedure Success: Device success and residual stenosis ≤ 50% at the end of the procedure.
*Total number of devices
**Total number of lesions

## Slide 12
SUCCESS PTA STUDY
Freedom from CD-TLR up to 365 days - KM curves
91.1% Full Cohort
91.3% Claudicants
90.3% CLTI
365
Full Cohort

## Slide 13
SUCCESS PTA STUDY Clinical outcomes up to 365 days
Clinical Outcomes up to 365 days | Full Cohort N = 720 | Claudicants N = 534 | CLTI N = 186
Death | 3.5% (23/652) | 1.2% (6/501) | 11.3% (17/151)
Major Cardiac Event* | 2.7% (17/636) | 2.2% (11/497) | 4.3% (6/139)
CD-TLR | 9.0% (57/631) | 8.7% (43/496) | 10.4% (14/135)
Thrombosis | 0.8% (5/629) | 0.4% (2/495) | 2.2% (3/134)
Target limb amputation | 2.2% (14/634) | 0.2% (1/496) | 9.4% (13/138)
Major target limb amputation | 1.4% (9/633) | 0.2% (1/496) | 5.8% (8/137)
Minor target limb amputation | 0.8% (5/630) | 0.0% (0/495) | 3.7% (5/135)
MALE* | 13.3% (85/638) | 11.6% (58/498) | 19.3% (27/140)
*Major cardiac event: MI, stroke, cardiovascular death
*MALE: Severe limb ischemia leading to an intervention to target limb or major vascular amputation

## Slide 14
SUCCESS PTA STUDY
Rutherford classification up to 12-month FU (paired analysis°)
Full Cohort (N=507) Claudicants (N=408) CLTI (N=99)
Chart: 
| Baseline | 12-month | Baseline | 12-month | Baseline | 12-month
RCC 0 | 0.2 | 52.1 | 0.2 | 53.9 | 0 | 44.4
RCC 1 | 3.2 | 24.7 | 3.9 | 25.7 | 0 | 20.2
RCC 2 | 23.7 | 12.8 | 29.4 | 13.2 | 0 | 11.1
RCC 3 | 53.5 | 6.1 | 66.4 | 5.9 | 0 | 7.1
RCC 4 | 7.7 | 0.8 | 0 | 0.7 | 39.4 | 1
RCC 5 | 11 | 3 | 0 | 0.2 | 56.6 | 14.1
RCC 6 | 0.8 | 0.6 | 0 | 0.2 | 4 | 2
* p-value < 0.0001
* p-value < 0.0001
* p-value < 0.0001
° Based on patients who had baseline and 12-month FU available (FU performed inside the window).

## Slide 15
SUCCESS PTA STUDY ABI up to 12-month FU (paired analysis°)
° Based on patients who had baseline, 6-month and 12-month FU available (FU performed inside the window).
Improvement at 6 months is maintained out to 12 months
Full Cohort Claudicants CLTI
(N=366) (N=307) (N=59)
Baseline 6M 12M
Baseline 6M 12M
Baseline 6M 12M
Chart: 
| 1 | 2 | 3
Y-Values | 0.7 | 0.9 | 0.9
Chart: 
| 1 | 2 | 3
Y-Values | 0.6 | 0.9 | 0.9
Chart: 
| 1 | 2 | 3
Y-Values | 0.7 | 0.9 | 0.9
0.7±0.2
0.7±0.3
0.6±0.3
0.9±0.2
0.9±0.2
0.9±0.2
* p-value < 0.0001
* p-value < 0.0001
* p-value < 0.0001
0.9±0.3
0.9±0.3
0.9±0.3

## Slide 16
SUCCESS PTA STUDY EQ5D at 12-month FU (paired analysis°)
° Based on patients who had baseline and 12-month FU available (FU performed inside the window).
Chart: 
| Mobility | Self-Care | Usual Activities | Pain/Disconfort | Anxiety/Depression
Baseline | 14.4 | 85.6 | 51.4 | 19.6 | 72.1
Series 2 | 20.9 | 12.5 | 25.9 | 29.8 | 19.6
Series 3 | 35.6 | 4.3 | 17 | 31.7 | 9.1
Series 4 | 32.8 | 1.8 | 8.5 | 22.2 | 2.8
Series 5 | 0.8 | 0.4 | 1.8 | 1.6 | 0.8
Baseline
Pain/Discomfort
(n=504)
Anxiety/Depression
(n=506)
Mobility
(n=506)
Usual Activities
(n=506)
Chart: 
| Mobility | Self-Care | Usual Activities | Pain/Disconfort | Anxiety/Depression
Series 1 | 0.504 | 0.846 | 0.64 | 0.46 | 0.757
Series 2 | 0.208 | 0.075 | 0.184 | 0.272 | 0.132
Series 3 | 0.168 | 0.051 | 0.117 | 0.171 | 0.079
Series 4 | 0.101 | 0.024 | 0.038 | 0.087 | 0.026
Series 5 | 0.02 | 0.004 | 0.022 | 0.01 | 0.006
12M
Baseline
12M
Baseline
12M
Baseline
12M
Baseline
12M
Self-Care
(n=506)
Extreme problems
Severe problems
Moderate problems
Slight problems
No problem
 | Baseline N = 499 | 6-month N = 499 | 12-month N = 499 | P-value (% change) Baseline-12M
EQ-VAS Score | 63.1 ± 18.3 | 71.8 ± 18.3 | 70.1 ± 19.8 | <0.001
Improvement at 6 months
is maintained
out to 12 months

## Slide 17
 | SUCCESS PTA Registry | In.Pact Global Registry 1 | Ranger Registry 2 | Biolux PIII Registry 3
Sample size | 720 | 1406 | 172 | 700
RCC 4 | 8% | 8% | 8% | 11%
RCC 5 | 16% | 3% | 5% | 21%
RCC 6 | 1% | 0% | 1% | 6%
Diabetic | 38% | 40% | 35% | 47%
BTK involvement | 8% | 0% | 0% | 11.9%
Provisional Stenting | 32% | 21% | 22% | 17%
Chart: 
| SUCCESS PTA | IN.PACT | Ranger | Biolux PIII
12Mo Freedom from CD-TLR | 0.911 | 0.926 | 0.89 | 0.931
CTO (%) | 0.42 | 0.35 | 0 | 0.24
Ca++ (%) | 0.17 | 0.1 | 0.03 | 0.12
Length (cm) | 12.8 | 12.1 | 12.9 | 8.5
12Mo Freedom from CD-TLR
Zeller, et al. Circ Cardiovasc Interv. 2019
Lichtenberg, et al. Journal of Cardio Surg 2018
Tepe, et al. Journ Endovasc Therapy 2020
SUCCESS PTA STUDY Data in context - 12-month FU

## Slide 18: SUCCESS PTA STUDY Conclusions
The SUCCESS PTA is a multi-center, real-world registry with more than 700 patients with claudication and CLTI treated with SELUTION SLR™ DEB.
Positive 12-month outcomes with consistent hemodynamic, functional, and clinical improvement associated with 91.1% freedom from CD-TLR overall and 90.3% for the CLTI subgroup.
The 12-month results continue to demonstrate consistency of positive results across SELUTION SLR™ DEB trials.
Largest study of a Sirolimus drug-eluting balloon in a complex PAD patient cohort with outcomes comparable to previous DCB registries.